
 SEQ CHAPTER \h \r 19Chapter 1.19

DEVELOPMENT LANDSCAPE RECOMMENDATIONS
1.19.005 Purpose.

1.19.010 Landscape Requirements.

1.19.015 Saving Existing Vegetation.

1.19.020 Definitions.

1.19.025 Landscape Plan.

1.19.030 Design Standards.

1.19.035 Installation and Maintenance of Plant Materials.

1.19.040 Landscaping Requirements by Zone.

1.19.045 Parking Lot Landscaping.

1.19.050 Required Perimeter Parking Lot Landscape Improvements.

1.19.055 Landscape Buffers.

1.19.060 Parkstrips.

1.19.065 Nonconforming Lot Due to Landscaping.

1.19.070 Appeal.

1.19.005 Purpose.

The landscaping and buffering recommendations specified in this Chapter are intended to foster aesthetically pleasing development which will protect and preserve the appearance, character, health, safety and welfare of the community. These  guidelines are intended to increase the compatibility of adjacent uses and, in doing so, minimize the harmful impacts of noise, dust and debris, motor vehicle headlight glare or other artificial light intrusions, and other objectionable activities or impacts conducted or created by an adjoining or nearby use, thereby fostering compatibility among different land uses.  These guidelines are also intended to preserve, enhance and expand the quality of life and promote the prudent use of water and energy resources. 

1.19.010 Landscape Requirements.

(1) Whenever the submission and approval of a landscape plan is required by this Chapter, such plan shall be an integral part of any application for a building permit or occupancy permit.  No such permits shall be issued without submitting a landscape plan as required in this Chapter.  (2) The Land Use Authority may approve a project plan modifying the standards of this Chapter if the property owner seeking development approval presents substantial evidence demonstrating that the modification, as determined by the Land Use Authority, should be approved based on one of the following reasons:


(a) the strict application of applicable standards will result in an unreasonable hardship as the result of shallow lot depth, irregular lot shape, unusual topography or other similar factors; or


(b) the proposed modification constitutes an innovative landscaping design which is superior to the landscaping that would result from application of required standards.


(c) If the Land Use Authority grants a modification under this subsection, it shall make particularized findings justifying the modification. 

1.19.015 Saving Existing Vegetation.  


(1) Developments should be designed to incorporate existing trees, clusters of trees or clusters of shrubs unless it is found that such preservation is unwise.  The developer shall submit with the landscape plan existing vegetation on the proposed site.  

(a) Removal of some or all existing vegetation based on a determination of the benefits of such vegetation and the efforts made to save and incorporate the vegetation into the design of a development versus the problems such vegetation may create for the development in terms of general construction techniques, the impact removal may have on the character of the area, the topography of the site and harmful conditions the vegetation may create.  


(2) Trees and other vegetation to be saved shall be clearly marked to ensure protection against removal or damage.  Fencing or other acceptable barriers shall be used to protect existing vegetation designated to be saved.  

1.19.020 Definitions.


The following definitions shall apply to the regulation and control of landscaping within this Title:


“Annual” means a plant which completes its life cycle within one (1) year of germination. 


“Botanical Name” means the Latin scientific name of a plant.

“Biennial” means a plant which completes its life cycle in two (2) years. 


“Buffering” means the use of landscaping (other than mere grass on flat terrain), or the use of landscaping along with berms, walls or decorative fences that at least partially and periodically obstruct the view from the street, in a continuous manner, of vehicular use areas, parking lots and their parked cars, and detention ponds.


“Caliper” means a standard trunk diameter measurement for nursery grown trees taken six (6) inches above the ground for trees up to and including four (4) inch caliper size, and twelve (12) inches above the ground for larger size trees.



“Cultivar” means the plant variety originated in cultivation and not in the wild. 


“Deciduous” means a plant that loses its leaves at the end of the growing season.


“Detention Area” means a temporary storage of a determined quantity of water with a release rate that is either fixed or variable.


“Drip Irrigation” means a network of narrow tubes or porous tubing which delivers small amounts of water to individual plants in order to reduce the amount of water wasted due to wind, evaporation or spillage.


“Drip Line” means a vertical line extending from the outermost edge of the tree canopy or shrub branch to the ground.


“Evergreen” means a plant which retains its leaves in a living state during the winter.


“Foundation Area” means the ground area immediately adjacent to a building on all sides thereof. 


“Genus” means a class of plants divided into subordinate species. 


“Ground Cover” means a prostrate plant less than two (2) feet in height at maturity and used for ornamental purposes.


“Hardscape” means landscaping which may include interior decorative walkways, play areas, improved pads for barbecues, picnic areas, sports facilities, pools, or other functional recreational amenities.


“Hardy” means a plant which can withstand prolonged exposure to temperatures at or below forty five (45) degrees Fahrenheit.


“Island” means a raised planting area, usually curbed, and placed to guide traffic, separate lanes, limit paving (impervious surface), preserve existing vegetation and increase aesthetic quality in parking lots and other areas.


“Landscaping” means any combination of living plants, such as trees, shrubs, vines, ground covers, flowers or grass; natural features such as rock, stone, bark chips or shavings; and structural features, including but not limited to, fountains, reflecting pools, outdoor art work, screen walls, fences, or benches.


“Landscape Plan” means the preparation of graphic and written criteria, specifications, and detailed plans to arrange and modify the effects of natural features such as plantings, ground and water forms, circulation, walks and other features to comply with the provisions of this ordinance.


“Landscape Yards” means a yard devoted exclusively to landscaping except that driveways and sidewalks needed to serve the use and buildings on the lot may be located within a required landscape yard.


“Microclimate” means a specific expression of the wind, temperature, and precipitation patterns of a specific site or property.


“Mulch” means any loose, usually organic, material placed over the soil as a protective covering or for decorative purposes such as ground bark, saw dust, leaves, compost or straw. 


“Parkstrip Area” means the strip of land next to a road which is between the curb and the sidewalk.


“Perennial” means a plant which will live for three (3) years or more under normal conditions. 


“Parking Lot Plantings” means a planting area, within or adjacent to a parking area, designed to shade and improve the attractiveness of large areas of pavement.


“Planting Area” means the area prepared for the purpose of accommodating the planting of trees, shrubs, and ground covers.


“Retention Area” means an area designed and used for the temporary or permanent storage of storm water runoff.


“Rootball” means matted roots plus enclosed soil within the pot of a container grown plant. 


“Shrub” means , a small, medium, or large upright plant growing less than five (5) feet to twenty (20) feet in height at maturity that is planted for ornamental or screening purposes.


“Site Analysis Plan” means a plan drawn with sufficient detail to show existing site conditions including steeps slopes, wetlands, watercourses, existing vegetation, scenic views, drainage ways, fences, easements, and other existing features pertaining to the proposed site.


“Species”means a category of plants ranking below genus.


“Street Tree” or “Public Tree” is a tree in any public place, located on Tremonton City property, or street rights-of-way, including but not limited to, parkstrip areas.


“Street Yard” means a planting area parallel to a public street designed to provide continuity of vegetation along the right-of-way and to soften the impact of development by providing a pleasing view from the street.


“Tree” means a woody plant with a distinct central trunk.


“Tree, Ornamental” means a small to medium tree, growing fifteen (15) to forty (40) feet in height at maturity, that is planted for aesthetic purposes such as colorful flowers, interesting bark, or fall foliage.


“Tree, Shade” means a large tree, growing to over forty (40) feet in height at maturity, planted to provide canopy cover shade.


“Tree Protection Zone” means the area around a tree corresponding to the drip line or ten (10) feet in all directions from the trunk.


“Variety” means one of possibly many closely-related plant species.


“Xeriscape” means a reduced water usage landscape achieved through the use of good planning and design, limited turf areas, soil improvements, efficient irrigation, mulching, low water use plants, and appropriate trees, shrubs, and ground cover. 
1.19.025 Landscape Plan.

(1) A landscape plan shall be required whenever landscaping or alteration of existing landscaping is required  and shall be submitted with the initial application for approval.  Such landscape plan shall conform to the recommendations specified in this Chapter.  Landscape plans shall be prepared and submitted for review. If a building permit is not required, landscape plans shall be  reviewed as part of a project plan. The construction of those structures less than a multi-family tri-plex residences shall be exempt from this chapter.


(2) All landscape plans submitted for approval shall be drawn to a standard engineer’s or architect’s scale on a 24" x 36" or 11" x 17" sheets and shall include the following components:


(a) Landscape plan showing the following information:


(i) location and dimensions of all existing and proposed structures, property lines, easements, parking lots and drives, roadways and rights-of-way, sidewalks, bicycle paths, ground signs, refuse disposal and recycling areas, bicycle parking areas, fences, freestanding electrical equipment, tot lots and other recreational facilities, and other freestanding structural features;


(ii) location, quantity, size, and botanical and common names of all proposed plants;


(iii) location, size and common names of all existing plants including trees and other plants in the parkway, 


(iv) indication of plants to be retained or removed and how they will be protected during construction;


(v) location of existing buildings, structures and plants on adjacent property within twenty (20) feet of the site;


(vi) existing and proposed grading of the site using two (2) foot contour intervals;


(vii) proposed berming using one (1) foot contour intervals;


(viii) elevations and cross-sections of all proposed fences and retaining walls;


(ix) elevations and cross-sections of other landscape features; and


(x) summary data indicating the total area of property and percentage of the site devoted to landscape area.


(b) Irrigation system plan.  The landscape plan and the  irrigation plan shall be provided on separate sheets. 
1.19.030  Design Standards.

(1) Landscape plans shall incorporate the design standards set forth in this section and shall be evaluated and approved based on compliance therewith.


(2) The scale and nature of landscaping materials shall be appropriate to the size of the structures on the premises and character of the location.  


(a) Plants shall be selected for form, texture, color, pattern of growth and adaptability to local conditions.  Plants shall be of good quality, and capable of withstanding the extremes of individual site microclimates. The mature height and spread of plants shall be taken into account during selection.


(b) Evergreens shall be incorporated into the landscape treatment of a site, particularly in those areas where screening and buffering may be required.


(c) Plants shall be placed intermittently against long expanses of building walls, fences, and other barriers to create a softening effect.


(d) Detention/retention basins and ponds shall be landscaped where possible.  Such landscaping may include shade and ornamental trees, evergreens, shrubbery, hedges, turf and groundcover.


(e) Plant placement shall be designed to reduce the energy consumption needs of the development.


(i) Deciduous trees shall be placed on the south and west sides of buildings to provide shade from the summer sun.


(ii) Evergreens shall be concentrated on the north side of buildings to dissipate the effect of winter winds.


(f) Whenever practical earthen berms and existing topographic features shall be incorporated into the landscape treatment of a site, particularly when combined with plant material to facilitate buffering.


(3) Landscape design shall recognize the climatic and geologic limitations of the Tremonton City area and the need for water conservation. While irrigation systems are required for certain landscape areas, and may be desirable for other applications, all irrigation systems shall be designed to minimize the use and run-off of water.  



(a) All areas to be landscaped with sod, seed, and/or hydro-seed shall have sprinklers and/or an irrigation system.  All other landscaped areas may be provided with drip irrigation systems.


(b) Sod shall be used in areas with less than a ten (10) percent slope to prevent the runoff of irrigation water.  


(c) To promote water conservation every effort should be made to use drought-tolerant species that can withstand dry conditions once established.  The use of drought-tolerant vegetation is encouraged in required landscape areas. 

Xeriscape landscaping may include a combination of drought resistant trees, shrubs, ground covers, organic mulches as well as some dry landscape materials.


(4) Annuals, biennials and perennials, decorative stone or similar materials shall be used in planting beds and may be used as an alternative to grasses.  Ground covers may be used together with mulch to provide complete coverage of bare ground.  Where ground cover is not used, planting beds shall be mulched with bark chips, decorative stone, or similar materials. Mulch shall not be used as a substitute for plants.


(5) Minimum plant sizes shall be as follows:


(a) All deciduous and/or ornamental trees shall have a minimum two (2) inch caliper size.  See figure #1.


(b) All evergreen trees shall have a minimum height of five (5) feet measured from finished grade to the top of the plant.  See figure #2.


(c) All shrubs shall have a minimum height or spread of eighteen (18) inches depending on the plant's natural growth habit. See figure #3.

1.19.035 Installation and Maintenance of Plant Materials.

(1) All landscaping shall be installed in accordance with common planting procedures   The installation of all plants  recommended by this Chapter may be delayed until the next optimal planting season,  subject to the development agreement.  


(2) All landscaping materials, fences and walls, and irrigation systems  shall be maintained in good condition so as to present a healthy, neat and orderly appearance, and shall be replaced when necessary.  The owner of the premises shall be responsible for the maintenance, repair and replacement of all landscaping materials, fences and walls. 
1.19.040 Landscaping Requirements by Zone.

(1) The requirements of this section shall apply in addition to other requirements of this Chapter. 


(2) Within RM-7, RM-15 zones all open areas except driveways, parking areas, walkways, utility areas, decks, patios, porches, etc., shall be landscaped with plants, shrubs, trees, grass, and similar materials as determined by the property owner. 


Within the RM zone all open areas except driveways, parking areas, walkways, utility areas, improved decks, patios, or porches shall be landscaped.


(1) Trees of a type, size, and interval shall be planted along the street frontage of any private or public street within the development and around the periphery of a manufactured home park.


(2) Front yard and street side yards shall consist of seventy-five percent (75%) of live plant material such as grass, shrubs and trees.


(3) Hedges, shrubs, trees, and other plant material shall be installed between perimeter fencing and all public streets.


(4) All common areas shall be reasonably landscaped with plants, shrubs, trees, grass, and similar landscaping materials, including a minimum of fifteen (15) trees per acre.  All shrubs and trees shall have a minimum size as listed in Section 15.20.060 of this Chapter.


(5) A central recreation area shall be established in each manufactured home park and manufactured home subdivision.  


(i) The size of said recreation area shall be at least fifteen (15) percent of the site excluding buffer yards and a common area and may contain community clubhouses, swimming pools, and similar facilities provided exclusively for recreation purposes.


(ii) Decentralization of recreation facilities may be permitted, provided, they are of adequate size to be usable and practical for group recreation use.  


(iii) Within a manufactured home park or subdivision, some provision satisfactory to the Land Use Authority shall be made to assure perpetual common use and perpetual maintenance of the recreation areas and facilities.  Open space easements shall be granted to the City within recreation and open space areas to assure that said areas will not be developed in a manner inconsistent with an  approved project plan.


(3) Within  CD, CN zones all open areas except driveways, parking areas, walkways, utility areas, decks, patios, or porches, etc., shall be landscaped with plants, shrubs, trees, grass and similar landscaping materials as provided in Table 1-19-1, Landscape  Recommendations. Within the CD, CN zones any open areas or courts lying between a front or side property line and the front or side of any building or structure located on the property, except those portions devoted to driveways, shall be maintained with suitable landscaping of plants, shrubs, trees, grass, and similar landscaping materials.  Landscaping materials shall be in character with and shall complement the landscaping provided in adjacent public rights-of-way.


(4) Within MD, MG,  zones all open areas except driveways, parking areas, walkways, utility areas, decks, patios, or porches, etc., shall be maintained with suitable landscaping of plants, shrubs, trees, grass and similar landscaping materials.  At least fifteen (15) trees per acre shall be provided.


(5) Within the CH zone front and side yard areas adjacent to a public street, except those portions devoted to driveways and parking, shall be maintained with suitable landscaping of plants, shrubs, trees, grass, and similar landscaping materials.  At least five (5) trees per acre shall be provided.

(6) Within the MD-B zone the following landscaping provisions shall apply.

(a) At the time of rezoning and preliminary project plan approval, an overall landscaping plan shall be submitted showing typical landscaping (including type, size, number, and location of plant materials) for the following areas:  project entrances, perimeter buffers, open space easements and common areas, and streetscape landscaping.  Detailed landscape plans for individual lots shall be submitted at the time of project plan approval for individual buildings. Landscape improvements for common open space features shall be developed at each phase of the project.

(b) A minimum of fifteen (15) percent of the overall project site and individual lots shall be maintained in permanent landscaped open space.

(c) Internal circulation roads shall be landscaped with street trees and streetside planters.  A minimum five (5) foot width shall be landscaped adjoining the right-of-way of any such street or road.  Streetscape planting shall be consistent throughout the development to provide a unifying landscape theme.  Details for these areas shall be submitted with the overall landscape plan at the time of preliminary plan approval.

(d) Existing significant trees, tree stands, natural vegetation, and wildlife habitat shall be integrated into the site landscape plan to the maximum extent possible.  Preliminary landscape plans shall identify all existing trees five (5) inch caliper or larger.


(e) Landscaped berms shall be constructed along all perimeter public access street frontages.


(i) The height of berms shall be at least four (4) feet and shall be varied in height with enclaves, protrusions, etc.


(ii) The slope of berms shall be such as to be mowable with a standard rider mower.


(f) Large mature trees shall be planted along perimeter public access street frontages.


(i) Such trees shall be three (3) to five (5) inch caliper trees, planted at least five (5) feet from sidewalks.

(g) In order to maintain the park-like atmosphere intended for a Business Park, thirty (30) trees per acre shall be used as a minimum standard in developing the landscaping plans.


(i) Fifty (50) percent of the deciduous trees shall be two (2) to two and one-half (2.5) inch caliper.  Thirty (30) percent of deciduous trees shall be one and one-half (1.5) to two (2) inch caliper.  Twenty (20) percent of the deciduous trees shall be three (3) inches or more in caliper.


(ii) No deciduous trees of less than one and one-half (1.5) inch caliper shall be accepted, nor shall evergreen trees less than six (6) feet in height be accepted.  No bare root stock shall be accepted.


(h) The following mix of shrub sizes shall be used to insure a quality landscape: 


(i) Sixty (60) percent of shrubs shall be at least five (5) gallon size stock.


(ii) Thirty (30) percent of shrubs shall be at least one (1) gallon size stock.


(j) A foundation area planting strip at least five (5) feet wide shall be placed around all buildings.


(7) Vacant lots in all zones awaiting construction shall be maintained free of unsightly storage of equipment, construction materials, or overgrown weeds and nuisance vegetation.

1.19.045  Parking Lot Landscaping.


(1) All parking lots designed for six (6) or more parking spaces  are recommended to provide landscaping in accordance with the provisions of this section.  Smaller parking lots shall not be required to provide landscaping other than yard area landscaping and landscaped buffer requirements as specified in other sections of this Chapter.


(2)  Parking areas shall be landscaped at a rate of at least twenty-five (25) square feet of landscaping per required off-street parking stall.  Landscaping areas located along the perimeter of a parking lot (beyond the curb or edge of pavement of the parking lot, up to a depth of five (5) feet) may be included toward satisfying this requirement.  Deciduous trees shall be planted within said parking area landscaping in a manner such that, at maturity of said trees, at least twenty (20) percent of the paved surface area of the parking area will be shaded when the sun is directly overhead.


(3) Landscaping  recommendations:


(a) Interior parking lot landscaping areas shall be dispersed throughout the parking lot. 

(b) Interior parking lot landscaping areas shall be a minimum of eighty (80) square feet in area and shall be a minimum of five (5) feet in width, as measured from back of curb to back of curb.


(4) The plants used to improve the landscape areas  defined above shall conform to the following:


(a) Primary plant materials used in the interior parking lots shall be deciduous shade tree species in conformance with applicable provisions of Section 1.19.030.  Ornamental trees, shrubbery, hedges, and other plants may be used to supplement the shade tree plantings in perimeter planting areas, but shall not be the only plants used in such landscaping.


(b) One shade tree shall be provided for every one hundred twenty square feet of landscaping area;


(c) A minimum of thirty (30) percent of every interior parking lot landscaping area shall be planted with groundcover at a density that will achieve complete cover within two (2) years.

(5) Concrete or approved curbing controls shall be constructed around all required landscaping within the interior of parking lots for the protection of the landscaping,   except as follows:


(a) In MD, MG, CG zones, hard-surfaced areas used as operational yard areas for trucks, trailers and other incidental vehicles, other than passenger automobiles and light trucks, and which are not parking lots for employees, clients, and customers, shall be exempt from parking lot interior landscaping requirements.
1.19.050  Required Perimeter Parking Lot Landscape Improvements.

(1) The landscape requirements identified in Table 1-19-2, Required Perimeter Parking Lot Landscape Improvements, provide for the enhancement of parking lots by recognizing two distinct conditions. The first is where parking lots are located in front and side street areas, and a uniform scheme of landscaping is required to protect the aesthetics along public streets. The second condition is where parking lots are located within rear and interior side yards. 


(a) The improvements established in Table 1-19-2 shall be required only for parking lots with six (6) or more stalls and where the lot is located within a required yard or within twenty (20) feet of a lot line. For reduction of impacts between dissimilar uses, see Section 1.19.055.


(b) Where both parking lot landscaping and landscape buffers are required, the more restrictive shall apply.  


(c) In no case shall parking be allowed in a required front or street side yard setback. 

(2) Where a parking lot is located within a required yard, or within twenty (20) feet of a lot line, perimeter landscaping shall be required along the corresponding edge of the parking lot in conformance with the provisions in Table 1-19-2.


(i) Perimeter landscaping, if required, shall be provided within landscape areas at least five (5) feet in width, as measured from the back of the parking lot curb and extending into any parking space overhang area.


(ii) Within the landscape area required above, landscape improvements shall be required as established in this section and Table 1-19-2.


(3) Fences along parking lot perimeters may be required through the project plan review process pursuant to the provisions of Chapter 1.10 and Chapter 3.18 of the Tremonton City Code.


(4) Concrete or approved curb controls shall be constructed around all required landscaping on the perimeter and within parking lots.

1.19.055.  Landscape Buffers.

(1) The  recommendations of this section shall establish the dimensions and improvement of landscape buffers  recommended for transitions between zones of dissimilar uses.


(2) Landscape buffers  should be reserved for vegetation, groundcover and fencing. Parking, driveways, sidewalks, accessory buildings or other impervious surfaces are not encouraged, unless specifically authorized through the project plan review process.  Landscape buffers may be located within required landscape yards as established in the applicable zone regulations.  Where both landscape buffers and parking lot landscaping is required the more restrictive shall apply. 


(3) The width of landscape buffers shall be a minimum of ten (10) feet, subject to the following requirements:


(a) Shade trees shall be planted at the rate of one (1) tree for every thirty (30) linear feet of landscape buffer.


(b) A continuous evergreen or deciduous shrub hedge shall be planted along the entire length of landscape buffer. This shrub hedge shall have an expected mature height of not less than six (6) feet within three (3) years of planting.


(c) A fence not exceeding six (6) feet in height may be combined with the shrub hedge.  Where a fence or wall is required by another section of this Code the more restrictive requirement shall apply.


(d) Areas not planted with trees or shrubs shall be maintained as turf or other groundcover.

1.19.060  Parkstrips.


(1) All parkstrips in new developments  are encouraged to be landscaped in conformance with the provisions of this section.


(2) Parkstrips two (2) feet or more in width shall be landscaped with turf grass.   Rocks, gravel, bark, ground cover or shrubs May be permitted in a parkway.  Parkstrips less than two (2) feet in width may be landscaped with impervious materials including brick pavers, concrete pavers or concrete.  Asphalt shall not be permitted. 


(3) Parkstrips four (4) feet or more in width shall include trees.  Such trees shall be spaced not more than thirty (30) feet apart and shall have a minimum caliper size of two (2) inches.


(a) Trees may be planted in parkstrips along State highways only after a permit is issued by the Utah Department of Transportation.


(4)  Non-conforming vegetation may be maintained so long as it conforms to applicable sight distance requirements.  


(5) Vegetation which causes a public safety problem, as determined by the City , may be removed by the City.


(6) Where a parkstrip has been installed, the abutting property owner shall provide landscaping as provided in this section and shall continue to maintain the landscaping in a healthy, safe, attractive, and nuisance-free condition.  This shall include taking appropriate measures to water and trim plant materials, and to keep the parkstrip weed-free.


(8) It shall be unlawful for any person to remove from a parkstrip any landscaping required by the provisions of this Chapter.  This provision shall not apply to routine parkstrip maintenance.


(9) In all new subdivisions and developments requiring street improvements (curb, gutter, sidewalk, and street trees), the developer shall, as a part of the development, install the concrete work around the parkstrip, along with sleeves underneath or through the sidewalk to accommodate eventual sprinkling systems to the parkstrip.


(10) Every developer shall install trees and improvements for each new development as provided in this section. 

1.19.065 Nonconforming Lot Due to Landscaping.  


If the remodeling of a building in any zone causes the exterior of the building to be enlarged, the landscaping requirements of this Chapter shall apply, with the following limitations:


(1) The requirements of this Chapter shall not apply where those requirements would conflict with parking requirements, be incompatible with the design of existing buildings, or impair ingress or egress to existing buildings or parking areas.


(2) The requirements of this Chapter shall not apply to require improvements which cost more than ten (10) percent of a total remodeling project.

1.19.070 Appeal.  


Any person adversely affected by a decision involving the provisions of this Chapter may appeal the same to the Appeal Authority.
(New 07-18-00)  (Am 10-16-07)
Table 1-19-1   Landscape  Recommendations.
	Zones:
	RM-7
	RM-15
	CN
	MD-B, CG
	CD, CH
	MD, MG

	Max. % of  required landscaping used  as decorative hardscape*
	30%
	30%
	30%
	30%
	30%
	30%

	Minimum trees per unit.  Half deciduous half coniferous
	One (1)
	One (1)
	One (1)
	One-half  (½)
	One-half  (½)
	One-half  (½)

	Minimum % of lot to be landscaped
	30%
	30%
	25%
	15%
	15%
	15%

	Foundation area* plantings
	Minimum

4 foot planting

bed.
	Minimum

4 foot planting

bed.
	Minimum

4 foot planting

bed.
	Minimum

4 foot planting

bed.
	Minimum

4 foot planting

bed.
	Minimum

4 foot planting

bed.

	Number of shrubs Required

(Foundation area plantings and Ground covers)
	One (1) per 10 lineal feet of the perimeter of the property.
	One (1) per 10 lineal feet of the perimeter of the property.
	One (1) per 10 lineal feet of the perimeter of the property.
	One (1) per 20 lineal feet of the perimeter of the property.
	One (1) per 20 lineal feet of the perimeter of the property.
	One (1) per 20 lineal feet of the perimeter of the property.


* Additional width may be required to accommodate mature spread of selected plant materials.

Table 1-19-2   Recommended Perimeter Parking Lot Landscape Improvements
	Required Landscaping
	Front Yards and Side Yards Abutting a Street

	Shade Trees
	1 tree per 50 feet of yard length, measured to the nearest whole number (in addition to required parkway trees)

	Shrubs
	1 shrub per 4 feet, on center along 100% of the yard length.  Shrubs with mature height not more than 3 feet unless a lower shrub height is specifically required in this chapter for front yard areas.

	Groundcover
	Landscape area outside of shrub masses shall be established in turf or other groundcover.

	Required Landscaping
	Rear and Interior Yards

	
	Residential Use (including institutional residential uses)
	Nonresidential Use

	Shade Trees
	1 tree per 30 feet of yard length, measured to the nearest whole number.
	1 tree per 50 feet of yard length, measured to the nearest whole number.

	Shrubs
	1 shrub per 4 feet , on center along 100% of the yard length.  Shrubs shall have a mature height not less than 3 feet.
	1 shrub per 4 feet , on center along 50% of the yard length.  Shrubs shall have a mature height not less than 3 feet.

	Groundcover
	Landscape area outside of shrub masses shall be established in turf or other groundcover.
	Landscape area outside of shrub masses shall be established in turf or other groundcover.


[image: image1.wmf]
�






