
Town Of Eaton 
2010 Drinking Water

Consumer Confidence Report
For Calendar Year 2009
[image: image1.wmf]
Public Water System ID # CO0162233
Esta es información importante.  Si no la pueden leer, necesitan que alguien se la traduzca.

We are pleased to present to you this year’s water quality report.  Our constant goal is to provide you with a safe and dependable supply of drinking water.

General Information About Drinking Water

All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV-AIDS or other immune system disorders, some elderly, and infants can be particularly at risk of infections.  These people should seek advice about drinking water from their health care providers.  For more information about contaminants and potential health effects, or to receive a copy of the U.S. Environmental Protection Agency (EPA) and the U.S. Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and microbiological contaminants call the EPA Safe Drinking Water Hotline at 1-800-426-4791.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.  Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides that may come from a variety of sources, such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals, which are byproducts of industrial processes and petroleum production, and also may come from gas stations, urban storm water runoff, and septic systems.

· Radioactive contaminants, that can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the Colorado Department of Public Health and Environment prescribes regulations limiting the amount of certain contaminants in water provided by public water systems.  The Food and Drug Administration regulations establish limits for contaminants in bottled water that must provide the same protection for public health.

Our Water Source(s)
	Source
	Water Type

	
	

	Purchased North Weld County Wd 162553 Sw
	Surface Water


NOTE: This water system purchases water from another water system and is required to attach/include water quality data for purchased water with this report.

The Colorado Department of Public Health and Environment has provided us with a Source Water Assessment Report for our water supply.  You may obtain a copy of the report by visiting www.cdphe.state.co.us/wq/sw/swaphom.html or by contacting Gary Carsten at 970-454-3338.

Potential sources of contamination in our source water area come from: ____________________________________

________________________________________________________________________

The Source Water Assessment Report provides a screening-level evaluation of potential contamination that could occur.  It does not mean that the contamination has or will occur.  We can use this information to evaluate the need to improve our current water treatment capabilities and prepare for future contamination threats.  This can help us ensure that quality finished water is delivered to your homes.  In addition, the source water assessment results provide a starting point for developing a source water protection plan.
Please contact Gary Carsten at 970-454-3338 to learn more about what you can do to help protect your drinking water sources, any questions about the Drinking Water Consumer Confidence Report, to learn more about our system, or to attend scheduled public meetings.  We want you, our valued customers, to be informed about the services we provide and the quality water we deliver to you every day.
Terms and Abbreviations

The following definitions will help you understand the terms and abbreviations used in this report:

· Parts per million (ppm) or Milligrams per liter (mg/L) - one part per million corresponds to one minute in two years or a single penny in $10,000.

· Parts per billion (ppb) or Micrograms per liter (ug/L) - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000. 

· Parts per trillion (ppt) or Nanograms per liter (nanograms/L) - one part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

· Parts per quadrillion (ppq) or Picograms per liter (picograms/L) - one part per quadrillion corresponds to one minute in 2,000,000,000 years or one penny in $10,000,000,000,000.

· Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

· Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.
· Action Level (AL) - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.
· Treatment Technique (TT) - A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

· Maximum Contaminant Level Goal (MCLG) - The “Goal” is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

· Maximum Contaminant Level (MCL) - The “Maximum Allowed” is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

· Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant, below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

· Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

· Running Annual Average (RAA) - An average of monitoring results for the previous 12 calendar months.
· Gross Alpha, Including RA, Excluding RN & U - This is the gross alpha particle activity compliance value.  It includes radium-226, but excludes radon 222 and uranium.

· Microscopic Particulate Analysis (MPA) - An analysis of surface water organisms and indicators in water.  This analysis can be used to determine performance of a surface water treatment plant or to determine the existence of surface water influence on a ground water well.

[image: image2.wmf]
Detected Contaminants
Town Of Eaton routinely monitors for contaminants in your drinking water according to Federal and State laws.  The following table(s) show all detections found in the period of January 1 to December 31, 2009 unless otherwise noted. The State of Colorado requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year, or the system is not considered vulnerable to this type of contamination.  Therefore, some of our data, though representative, may be more than one year old.  The “Range” column in the table(s) below will show a single value for those contaminants that were sampled only once. Violations, if any, are reported in the next section of this report.  

Note: Only detected contaminants appear in this report. If no tables appear in this section, that means that Town Of Eaton did not detect any contaminants in the last round of monitoring.

	Microbiological
	Result
	MCL
	MCLG
	Typical Source

	
	
	
	
	

	COLIFORM (TCR)
	In the month of November, 1 sample(s) returned as positive
	MCL: Systems that Collect Less Than 40 Samples per Month - No more than 1 positive monthly sample
	0
	Naturally present in the environment


	Lead and Copper
	Collection Date
	90TH Percentile
	Unit
	AL
	Typical Source

	
	
	
	
	
	

	COPPER, FREE
	2009
	0.2
	ppm
	1.3
	Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives

	LEAD
	2009
	5.5
	ppb
	15
	Corrosion of household plumbing systems; Erosion of natural deposits


	Analyte
	Facility Name
	Highest Value
	Unit
	Monitoring Period

	
	
	
	
	


Health Information About Water Quality
Infants and young children are typically more vulnerable to lead in drinking water than the general population.  It is possible that lead levels at your home may be higher than other homes in the community as a result of materials used in your home’s plumbing.  If you are concerned about elevated lead levels in your home’s water, you may wish to have your water tested and flush your tap for 30 seconds to 2 minutes before using tap water.  Additional information is available from the Safe Drinking Water Hotline (800)426-4791.

Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially-harmful, bacteria may be present.  Coliforms were found in more samples than allowed and this was a warning of potential problems.
[image: image3.wmf]
Violations
	Type
	Category
	Analyte
	Compliance Period

	No Violations Occurred in the Calendar Year of 2009


Water Quality Data

We routinely monitor for contaminants in your drinking water according to Federal and State laws.  The State of Colorado requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year, or the system is not considered vulnerable to this type of contamination.  Some of our data, though representative, may be more than one year old.  

These tables show the results of our monitoring for the period of January 1 to December 31, 2009 unless otherwise noted.

Microbiological Contaminants
	Contaminant
	MCL
	MCLG
	Unit
	Result
	Violation (Yes or No)
	Sample Date
	Likely Source of Contamination

	Total Coliform Bacteria for Systems that collects<40 samples per month
	No more than 1 positive monthly sample
	0
	Absent or Present
	Absent
	NO
	Monthly
	Naturally present in the environment

	Fecal coliform and 
E. Coli
	A routine sample & a repeat sample are total coliform positive, & one is also fecal coliform or E. coli positive
	0
	Absent or Present
	NA
	NA
	NA
	Human and animal fecal waste


Turbidity

	Contaminant
	TT Requirement
	 Level Found
	Violation

(Yes or No)
	Sample Date
	Likely Source of Contamination

	Turbidity
	Maximum 1.0 NTU for any single measurement
	Highest single measurement:

0.137
	NO
	Date:

7/9/09
	Soil Runoff

	
	In any month, at least 95% of samples must be less than 0.3 NTU
	Lowest monthly percentage of samples meeting TT standard for our technology:

100%
	NO
	Month:

n/a
	


Lead and Copper

	Contaminant
	AL
	ALG
	Units
	90th Percentile
	Number of Sites over AL
	Violation

(Yes or No)
	Sample Date/Year
	Likely Source of Contamination

	Copper
	1.3
	1.3
	ppm
	0.178
	0
	NO
	6/2009
	Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives

	Lead
	15
	0
	ppb
	3.7
	0
	NO
	6/2009
	Corrosion of household plumbing systems, erosion of natural deposits


Disinfectants 

	Contaminant


	MRDL
	MRDLG
	Units
	Level

Detected & Range
	Violation

(Yes or No)
	Sample Date/Year
	Source

	Chlorine
	4
	4
	ppm
	0.78       0.07-0.78
	NO
	RAA
	Water additive used to control microbes

	Chlorine Dioxide
	0.80
	0.80
	ppm
	0.0

0.0 – 0.09
	NO
	Daily 2009
	Water additive used to control microbes


Disinfection Byproducts
	Contaminant 
	MCL
	MCLG
	Units
	Average
	Range
	Highest RAA
	Violation

(Yes or No)
	Sample Date/Year
	Likely Source of Contamination

	Haloacetic Acids (HAA5)
	60
	N/A
	ppb
	16.7
	0.0 – 31.0
	17.1
	NO
	Quarterly

2009
	By-product of drinking water disinfection

	Total Trihalomethanes (TTHM)
	80
	N/A
	ppb
	37.7
	7.5 – 59.0
	38.2
	NO
	Quarterly

2009
	By-product of drinking water disinfection

	Chlorite
	1.0
	0.80
	ppm
	0.32
	0.25 – 0.65
	0.42
	NO
	Quarterly

2009
	By-product of drinking water disinfection



Total Organic Carbon

	Contaminant
	Compliance Factor (measurements should not be lower than this factor)
	Lowest Running Annual Average (compliance factor)
	Running Annual Average Range for the Year  (compliance factor)
	Violation

(Yes or No)


	Sample Date/Year
	Likely Source of Contamination

	Total Organic Carbon (TOC)
	1.00
	1.19
	1.23
	NO
	Monthly

2009
	Naturally present in the environment


Inorganic Contaminants

	Contaminant
	MCL
	MCLG
	Units
	Level

Detected
	Violation

(Yes or No)
	Sample Date
	Likely Source of Contamination

	Barium
	2
	2
	ppm
	0.014
	NO
	8/5/09
	Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits

	Fluoride
	4
	4
	ppm
	0.90
	NO
	10/1/09
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	Nitrate (as Nitrogen)
	10
	10
	ppm
	0.07
	NO
	8/5/09
	Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits


Secondary Contaminants 

Secondary standards are non-enforceable guidelines for contaminants that may cause cosmetic effects or aesthetic effects in drinking water.  EPA recommends these standards but does not require water systems to comply.

	Contaminant
	Secondary Standard
	MCLG
	Units
	Level

Detected
	Violation

(Yes or No)
	Sample Date
	Likely Source 

	Sodium
	N/A
	N/A
	ppm
	8.11
	N/A
	8/5/09
	Runoff


Unregulated Contaminants 

In 2009, EPA required our system to monitor under the second cycle of the Unregulated Contaminant Monitoring Regulation (UCMR2).  Our finished water was monitored quarterly for 10 contaminants that are not yet regulated.  EPA plans to use this information for writing new regulations in the future.  None of the contaminants were detected in our finished water.
Health Effects Information About the Above Tables

Note:  If a contaminant is not listed above then it has not been detected.

Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age.  High nitrate levels in drinking water can cause blue baby syndrome.  Nitrate levels may rise quickly for short periods-of-time because of rainfall or agricultural activity.  If you are caring for an infant, and detected nitrate levels are above 5 ppm, you should ask advice from your health care provider.

If arsenic is less than the MCL, your drinking water meets EPA’s standards.  EPA’s standard balances the current understanding of arsenic’s possible health effects against the costs of removing arsenic from drinking water.  EPA continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.

Infants and young children are typically more vulnerable to lead in drinking water than the general population.  It is possible that lead levels at your home may be higher than at other homes in the community as a result of materials used in your home’s plumbing.  If you are concerned about elevated lead levels in your home’s water, you may wish to have your water tested.  Flush your tap for 30 seconds to 2 minutes before using tap water.  Additional information is available from the EPA Safe Drinking Water Hotline at          1-800-426-4791.

[image: image4.wmf]
Violations

The following violations were received by our water system or were ongoing in the calendar year 2009.

	Type/Description
	Compliance Period

	
	

	None
	1/1/2009 – 12/31/2009

	
	

	
	

	
	


An explanation of the violation(s) in the above table, the steps taken to resolve the violation(s) and any required health effects information are required to be included with this report.

Town Of Eaton, CO0162233                                        

 CCR   Page 5 of 6                          


