Perry/Willard Wastewater Treatment

Facility Board Meeting

975 West 1000 North

Willard, Utah  84340

June 12, 2013

5:00 PM

Members Present:  Steven Pettingill, Paul Nelson (arrive at 5:10 PM), Robert Beebe, Bruce Howard

Others Present:  Jeff Hollingsworth, Susan K. Obray, Minutes Clerk

Welcome and Call to Order

Chairman Pettingill welcomed and called to order the Perry/Willard Wastewater meeting.

Approval of the May 8, 2013 Minutes

MOTION:  Bruce Howard moved to approve the May 8, 2013 Minutes. Bob Beebe seconded the motion.  All in favor.

- Approval of the Agenda

MOTION:  Bruce Howard moved to approve the agenda as written. Bob Beebe seconded the motion.  All in favor.

B.       Public Comments

There were no public comments.

C.	Lead Operator Items

- Organic and metals requirements have been satisfied for permit requirements.

- 5/2/13   Sunrise came by the look at ditch

- 5/3/13   UV system fault

- Received lab supplies

- 5/8/13   Jared out with Vactor Truck

- Ordered & received two drums of Polymer

- 5/9/13    The State came out to sample

- 5/10/13   Completed sampling for Theron Miller to present to Willard Sience committee.

- 5/12/13   House water system faulted (call out)

- 5/13/13   April DMR report sent

- 5/13/13   Allied out to fix Loveland’s gate. Found large pieces of cement in manhole from previous contractor that cut down the box. Gate has not been tested Loveland working on the property.

- 5/15/13   Digester valve parts ordered by Sunrise are not correct.  Contacted Rocky Mountain valve to have new parts machined.  Rotork will be out in July to help install system.

- Mailed Neptune back there parts to credit plant back $1,573.00.  This is complete.

- 5/17/13   Bio Monitoring started ended 5/21/13 results came back and we passed out 9th sampling event.  One more and we can request to modify to acute sampling with fathead minnows.  This will be a one day event per sampling.  (Willard Spur Committee might protest)

- 5/19/13   House pump locked up

- 5/20/13   Contacted house water pump programmer on back up pumps not running.  CH Spencer never called back. He will have Infinity look at it when they come out.

- 5/21/13   Received pricing on UV lamps.  5/22/13 State came out to sample.  Jeff Denbleker would like to come up.

- 5/23/13   State came out to sample.

- 5/24/13   Westech out to modify #6 seal on IFAS system

- 5/30/13   Westech out to modify another seal.  Reported results of DMR QA 33 to lab.  Rebuilt two house check valves for house water system.

D.  Items to be Purchased

- UV lamps- Better pricing if we buy bulk. Jeff said there are 80 lamps in a set. Which would be $20,800 for the set. Jeff said if he buys the lamps they get the tech support for them.  Jeff said there is enough to buy them out of the budget. Bob Beebe asked Jeff to ask if they mark it down to $280 a piece then the plant can buy 20 at a time.  Jeff stated the lamps have 14,000 hours.  Steve stated he would like to purchase ½ a set.

MOTION:  Bruce Howard moved to authorize Jeff to purchase 40 UV lamps.  Bob Beebe seconded the motion.  All in favor.

Steve stated that the furnace expenses will be spread over the months of June and July over the budget year.  Bob Beebe asked if he should pursue finding a sensor unit and hook up that louver system to a methane sensor so it is not open all the time.   Steve stated that if it is the units that we push inside the operations building it would not be affect with the louvers, only if the other system came on.

E.  Discussion/Weed Sprayer

Bob Beebe had Willard come down and spray the weeds at the plant.  Steve suggested that Jeff buy a sprayer that will cover about 12 foot wide pass and something that can be pulled behind the Ranger.

F.  Discussion of the Perry/Willard Wastewater Treatment Plant Employment Table

Jeff stated that he would like to have his title changed to Plant Manager, instead of Lead Operator. This is in keeping with the State nomenclature.  The May 8, 2013 minutes were read regarding the Employment Table.

| Assistant Plant Manager | Plant Manager |
| --- | --- |
| Lane 1 Seasonal - $9.50/hr. Returning Seasonal - $10.25/hr | Probationary – Exempt Previous experience running a Treatment Plant Management Experience Wastewater Treatment Certification II Probation for 1st year $17.50 – 21.00/hr. |
| Lane 2 Basic Knowledge of Tools & Equipment Manual Labor CDL License $11.00 – 15.00/hr. |  |
| Lane 3 CDL License Wastewater Treatment Certification (I or II) 1 yr. Experience $14.50 - $22.50/hr. | Permanent - Exempt Full Knowledge of Plant Operations Wastewater Treatment Certification II Successful Probation Period $21.50 – 25.00/hr. |
| Lane 4 CDL License Wastewater Treatment Certification (III) 2-5 years Experience $16.00 - $26.00/hr. | DRC/Full Certification - Exempt Full Knowledge of Plant Operations Management Experience Wastewater Treatment Certification III $23.00 – 38.00/hr |

- Must be Lane 3 to apply for any open Plant Manager Position

- All Lane Changes must be approved by the Wastewater Treatment Board

- Pay advancement within Lanes is accomplished by Performance Review (see Performance Guidelines), but an employee is not eligible for a Performance Increase at the same time as a Lane Change.

MOTION:  Bruce Howard moved to accept the Perry/Willard Wastewater Treatment Plant Employee Table draft as modified. With the first box being lane 1, lane 1 becoming 2, lane 2 becoming lane 3 and lane 3 becoming lane 4, and moving the CDL license to the modified lane 2, also leaving CDL License in lanes 3 and 4.  Bob Beebe seconded the motion.  All in favor.

G.  Board Member Items

Steve asked Bruce Howard to write a letter to the State regarding the sampling but changed his mind.

Jeff stated he is going on vacation and Jared will be in charge.

H.  Call Outs

- call out

I.   Payment Approval

Attending Board Members signed the payment approval.

4.  Action Taken

None

5.  Closed Session

None

6.  Items for Next Agenda (if any)

Weed Sprayer

7. Adjournment

MOTION:  Bruce Howard moved to adjourn.  Bob Beebe seconded the motion.  All in favor.