tc "Quality on Tap Report "\l 2
Annual Drinking Water Quality Report

The Water We Drink

Town of Superior, WY

May 1, 2013


We're pleased to present to you this year's Annual Quality Water Report. This report is designed to inform you about the quality water and services we deliver to you every day. Our constant goal is to provide you with a safe and dependable supply of drinking water. We want you to understand the efforts we make to continually improve the water treatment process and protect our water resources. We are committed to ensuring the quality of your water. Our water source is 3 wells about 10 miles east of town. Wells 17 and 18 draw from theErickson Formation, and well 19 draws from the Almond Formation. 
. 
I'm pleased to report that our drinking water is safe and meets federal and state requirements.
 This report shows our water quality and what it means. 

If you have any questions about this report or concerning your water utility, please contact Candace Smith at 362-1152 or 362-8173. We want our valued customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled meetings. They are held on the second and fourth Thursdays of each month at 7:00 pm at Town Hall at 3 North Main St.
The Town of Superior routinely monitors for constituents in your drinking water according to Federal and State laws. This table shows the results of our monitoring for the period of January 1st to December 31st, 2012.  As water travels over the land or underground, it can pick up substances or contaminants such as microbes, inorganic and organic chemicals, and radioactive substances.  All drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some constituents.  It's important to remember that the presence of these constituents does not necessarily pose a health risk. 
In this table you will find many terms and abbreviations you might not be familiar with. To help you better understand these terms we've provided the following definitions:

Non-Detects (ND) - laboratory analysis indicates that the constituent is not present.

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000. 

Parts per trillion (ppt) or Nanograms per liter (nanograms/l) - one part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

Parts per quadrillion (ppq) or Picograms per liter (picograms/l) - one part per quadrillion corresponds to one minute in 2,000,000,000 years or one penny in $10,000,000,000,000.

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Millirems per year (mrem/yr) - measure of radiation absorbed by the body.

Million Fibers per Liter (MFL) - million fibers per liter is a measure of the presence of asbestos fibers that are longer than 10 micrometers. 

Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.
Action Level - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.
Treatment Technique (TT) - (mandatory language) A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

Maximum Contaminant Level (MCL) - (mandatory language) The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal (MCLG) - (mandatory language) The “Goal”(MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) – (mandatory language) The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG) – (mandatory language) The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.
	TEST RESULTS

	Contaminant
	Violation

Y/N
	Level 

Detected
	Unit

Measurement
	MCLG
	MCL
	Likely Source of Contamination

	Microbiological Contaminants

	1. Total Coliform Bacteria                                    
	  N
	  0
	
	0
	presence of coliform bacteria in 5% of monthly samples
	Naturally present in the environment

	2. Fecal coliform and             E.coli
	  N
	  0
	
	0
	a routine sample and repeat sample are total coliform positive, and one is also fecal coliform or E. coli positive
	Human and animal fecal waste

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	5. Turbidity
	
	
	
	n/a
	TT
	Soil runoff

	Radioactive Contaminants

	 6. Beta/photon emitters 
	   N
	   0
	mrem/yr
	0
	4
	Decay of natural and man-made deposits

	 7. Alpha emitters    
	   N
	   0
	pCi/1
	0
	15
	Erosion of natural deposits

	 8. Combined radium
	   N
	   0
	pCi/1
	0
	5
	Erosion of natural deposits

	 9. Uranium1
	   N
	   0
	µg/L
	01
	301
	Erosion of natural deposits

	Inorganic Contaminants

	 10. Antimony
	   N
	   0
	ppb
	6
	6
	Discharge from petroleum refineries; fire retardants; ceramics; electronics; solder

	 11. Arsenic2
	   N
	   0
	ppb
	n/a2
	502
	Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes

	12. Asbestos
	   N
	   0
	MFL
	7
	7
	Decay of asbestos cement water mains; erosion of natural deposits

	13. Barium
	   N   
	   0
	ppm
	2
	2
	Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits

	14. Beryllium
	   N
	   0
	ppb
	4
	4
	Discharge from metal refineries and coal-burning factories; discharge from electrical, aerospace, and defense industries

	15. Cadmium
	   N   
	   0
	ppb
	5
	5
	Corrosion of galvanized pipes; erosion of natural deposits; discharge from metal refineries; runoff from waste batteries and paints

	16. Chromium
	   N
	   0
	ppb
	100
	100
	Discharge from steel and pulp mills; erosion of natural deposits

	17. Copper
	   N
	0.23
	ppm
	1.3
	AL=1.3
	Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives

	18. Cyanide
	   N   
	   0
	ppb
	200
	200
	Discharge from steel/metal factories; discharge from plastic and fertilizer factories

	19. Fluoride
	   N
	0.2
	ppm
	4
	4
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	20. Lead
	   N
	0.04
	ppb
	0
	AL=15
	Corrosion of household plumbing systems, erosion of natural deposits

	21. Mercury (inorganic)
	   N
	   0
	ppb
	2
	2
	Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland

	22. Nitrate (as Nitrogen)
	   N
	   0
	ppm
	10
	10
	Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits

	23. Nitrite (as Nitrogen)
	   N
	   0
	ppm
	1
	1
	Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits

	24. Selenium
	   N
	   0
	ppb
	50
	50
	Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines

	25. Thallium
	   N 
	   0
	ppb
	0.5
	2
	Leaching from ore-processing sites; discharge from electronics, glass, and drug factories

	Synthetic Organic Contaminants including Pesticides and Herbicides

	26. 2,4-D
	   N
	   0
	ppb
	70
	70
	Runoff from herbicide used on row crops

	27. 2,4,5-TP (Silvex) 
	   N
	   0
	ppb
	50
	50
	Residue of banned herbicide

	28. Acrylamide                        
	   N
	   0
	
	0
	TT
	Added to water during sewage/wastewater treatment

	29. Alachlor
	   N
	   0
	ppb
	0
	2
	Runoff from herbicide used on row crops

	30. Atrazine
	   N
	   0
	ppb
	3
	3
	Runoff from herbicide used on row crops

	31. Benzo(a)pyrene (PAH)
	   N
	   0
	nanograms/l
	0
	200
	Leaching from linings of water storage tanks and distribution lines

	32. Carbofuran
	   N
	   0
	ppb
	40
	40
	Leaching of soil fumigant used on rice and alfalfa

	33. Chlordane
	   N
	   0
	ppb
	0
	2
	Residue of banned termiticide

	34. Dalapon
	   N
	   0
	ppb
	200
	200
	Runoff from herbicide used on rights of way

	35. Di(2-ethylhexyl)           adipate
	   N
	   0
	ppb
	400
	400
	Discharge from chemical factories

	36. Di(2-ethylhexyl)         phthalate
	   N
	   0
	ppb
	0
	6
	Discharge from rubber and chemical factories

	37. 1,2-Dibromo-3-chloropropane (DBCP)
	   N
	   0
	nanograms/1
	0
	200
	Runoff/leaching from soil fumigant used on soybeans, cotton, pineapples, and orchards

	38. Dinoseb
	   N
	   0
	ppb
	7
	7
	Runoff from herbicide used on soybeans and vegetables

	39. Diquat
	   N
	   0
	ppb
	20
	20
	Runoff from herbicide use

	40. Dioxin

       [2,3,7,8-TCDD]
	   N
	   0
	picograms/l
	  0
	30
	Emissions from waste incineration and other combustion; discharge from chemical factories

	41. Endothall
	   N
	   0
	ppb
	100
	100
	Runoff from herbicide use

	42. Endrin
	   N
	   0
	ppb
	2
	2
	Residue of banned insecticide

	43. Epichlorohydrin
	   N
	   0
	
	0
	TT
	Discharge from industrial chemical factories; an impurity of some water treatment chemicals

	44. Ethylene dibromide 
	   N 
	   0
	nanograms/1
	0
	   50
	Discharge from petroleum refineries

	45. Glyphosate
	   N
	   0
	ppb
	700
	700
	Runoff from herbicide use

	46. Heptachlor
	   N
	   0
	nanograms/1
	0
	400
	Residue of banned termiticide

	47. Heptachlor epoxide
	   N
	   0
	nanograms/1
	0
	200
	Breakdown of heptachlor

	48. Hexachlorobenzene
	   N
	   0 
	ppb
	0
	1
	Discharge from metal refineries and agricultural chemical factories

	49. Hexachlorocyclo-     pentadiene
	   N
	   0
	ppb
	50
	50
	Discharge from chemical factories

	50. Lindane
	   N
	   0
	nanograms/l
	200
	200
	Runoff/leaching from insecticide used on cattle, lumber, gardens

	51. Methoxychlor
	   N
	   0
	ppb
	40
	40
	Runoff/leaching from insecticide used on fruits, vegetables, alfalfa, livestock

	52. Oxamyl [Vydate]
	   N
	   0
	ppb
	200
	200
	Runoff/leaching from insecticide used on apples, potatoes and tomatoes

	53. PCBs [Polychlorinated   biphenyls]
	   N
	   0
	nanograms/1
	0
	500
	Runoff from landfills; discharge of waste chemicals

	54. Pentachlorophenol
	   N
	   0
	ppb
	0
	1
	Discharge from wood preserving factories

	55. Picloram
	   N
	   0
	ppb
	500
	500
	Herbicide runoff

	56. Simazine
	   N
	   0
	ppb
	4
	4
	Herbicide runoff

	57. Toxaphene
	   N
	   0
	ppb
	0
	3
	Runoff/leaching from insecticide used on cotton and cattle

	Volatile Organic Contaminants

	58. Benzene
	   N
	   0
	ppb
	0
	5
	Discharge from factories; leaching from gas storage tanks and landfills

	59. Carbon tetrachloride
	   N
	   0
	ppb
	0
	5
	Discharge from chemical plants and other industrial activities

	60. Chlorobenzene
	   N
	   0
	ppb
	100
	100
	Discharge from chemical and agricultural chemical factories

	61. o-Dichlorobenzene
	   N
	   0
	ppb
	600
	600
	Discharge from industrial chemical factories

	62. p-Dichlorobenzene
	   N
	   0
	ppb
	75
	75
	Discharge from industrial chemical factories

	63. 1,2 - Dichloroethane
	   N
	   0
	ppb
	0
	5
	Discharge from industrial chemical factories

	64. 1,1 - Dichloroethylene
	   N
	   0
	ppb
	7
	7
	Discharge from industrial chemical factories

	65. cis-1,2-Dichloroethylene
	   N
	   0
	ppb
	70
	70
	Discharge from industrial chemical

factories

	66. trans - 1,2  Dichloroethylene
	   N
	   0
	ppb
	100
	100
	Discharge from industrial chemical factories

	67. Dichloromethane
	   N
	   0
	ppb
	0
	5
	Discharge from pharmaceutical and chemical factories

	68. 1,2-Dichloropropane
	   N 
	   0
	ppb
	0
	5
	Discharge from industrial chemical factories

	69. Ethylbenzene
	   N
	   0
	ppb
	700
	700
	Discharge from petroleum refineries

	70. Styrene
	   N
	   0
	ppb
	100
	100
	Discharge from rubber and plastic factories; leaching from landfills

	71. Tetrachloroethylene
	   N
	   0
	ppb
	0
	5
	Discharge from factories and dry cleaners

	72. 1,2,4 -Trichlorobenzene
	   N
	   0
	ppb
	70
	70
	Discharge from textile-finishing factories

	73. 1,1,1 - Trichloroethane
	   N
	   0
	ppb
	200
	200
	Discharge from metal degreasing sites and other factories

	74. 1,1,2 -Trichloroethane
	   N
	   0
	ppb
	3
	5
	Discharge from industrial chemical factories

	75. Trichloroethylene
	   N
	   0
	ppb
	0
	5
	Discharge from metal degreasing sites and other factories

	76. Toluene
	   N
	   0
	ppm
	1
	1
	Discharge from petroleum factories

	77. Vinyl Chloride
	   N   
	   0
	ppb
	0
	2
	Leaching from PVC piping; discharge from plastics factories

	78. Xylenes
	   N
	   0
	ppm
	10
	10
	Discharge from petroleum factories; discharge from chemical factories

	Disinfectants/Disinfection By-Products

	79. Bromate
	   N
	   0
	ppb
	0 
	10
	By-product of drinking water disinfection

	80. Chlorite
	   N
	   0
	ppm
	0.8
	1
	By-product of drinking water disinfection

	81. HAA5’s

       [Haloacetic Acids]
	   N
	   0
	ppb
	n/a
	60
	By-product of drinking water disinfection

	82. TTHM                                       [Total trihalomethanes]
	   N
	 2.72
	ppb
	n/a
	80 
	By-product of drinking water chlorination

	83. Chloramines as Cl2
	   N
	   0
	ppm
	MRDLG = 4
	MRDL = 4
	Water additive used to control microbes

	84. Chlorine as Cl2
	   N
	   0
	ppm
	MRDLG = 4
	MRDL = 4
	Water additive used to control microbes

	85. Chlorine dioxide as  ClO2
	   N
	   0
	ppm
	MRDLG = 0.8
	MRDL = 0.8
	Water additive used to control microbes


	TEST RESULTS

	Contaminant
	Violation

Y/N
	Level Detected
	Unit Measurement
	MCLG
	MCL
	Likely Source of Contamination

	Unregulated Contaminants

	86.
	N
	
	
	n/a
	n/a
	

	87.
	N
	
	
	n/a
	n/a
	


 (17) Copper. Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson's Disease should consult their personal doctor.

 (19) Fluoride. Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, including pain and tenderness of the bones. Children may get mottled teeth.

(20) Lead. Infants and children who drink water containing lead in excess of the action level could experience delays in their physical or mental development. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pressure.

 (82)  Total Trihalomethanes (TTHMs).  Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer.

As you can see by the table, our system had no violations. We’re proud that your drinking water meets or exceeds all Federal and State requirements. We have learned through our monitoring and testing that some constituents have been detected. The EPA has determined that your water IS SAFE at these levels. 

All sources of drinking water are subject to potential contamination by substances that are naturally occurring or man made. These substances can be microbes, inorganic or organic chemicals and radioactive substances. All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

MCL’s are set at very stringent levels. The MCL’s are set such that out of every 10,000 or 1,000,000 people (depends upon how the MCL was developed) drinking 2 liters of water every day for a lifetime, only 1 of those people may experience the described health effect.  

Lead:  Lead in drinking water is rarely the sole cause of lead poisoning, but it can add to a person's total lead exposure. All potential sources of lead in the household should be identified and removed, replaced or reduced.
Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).  

Please call our office if you have questions.

We at the Town of Superior work around the clock to provide top quality water to every tap. We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future. 

Page 7 of 7

